DICHIARAZIONE DI CONFORMIT**À**

La società INNOVA S.r.l., con sede in Via I Maggio 8 - 38089 Storo (TN) - Italia

DICHIARA

sotto la propria responsabilità che

**Le unità di ventilazione con recupero calore a doppio flusso**

|  |  |
| --- | --- |
| **HRA-I SLIM** | HRA-i SLIM 14 H – HRA-i SLIM 20 H – HRA-i SLIM 30 H |
| **HRA-I PLUS** | HRA-i PLUS 50/08 – HRA-i PLUS 50/15 |
| **HRA-I PLUS H2O** | HRA-i PLUS H2O 50/08 – HRA-i PLUS H2O 50/15 |

**ed i relativi accessori**

sono progettati, prodotti e commercializzati

in conformità alle seguenti direttive comunitarie:

* **Direttiva Bassa Tensione 2014/35/UE** mediante recepimento delle seguenti norme tecniche e loro SMI: EN 60335-2-40:2003 + A11:2004 + A12:2005 + A1:2006 + EC:2006 + A2:2009 + A13:2012 + A13/EC:2013, EN 60335-1:2002 + A11:2004 + A1:2004 + A12:2006 + A2:2006+ A1/EC:2007 + A13:2008 + EC:2009 + EC:2010 + A14:2010 + A15:2011
* **Direttiva EMC 2014/30/UE**, mediante recepimento delle seguenti norme tecniche e loro SMI: EN 60335-1:2012, EN 55014-1:2006 + A1:2009 + A2:2011, EN 61000-3-2:2006 + A1:2009 + A2:2009, EN 61000-3-3:2013, EN 55014-2:1997 + A1:2001 + A2:2008
* **Direttiva RED 2014/53/UE** concernente l'armonizzazione delle legislazioni degli Stati membri relative alla messa a disposizione sul mercato di apparecchiature radio
* **Direttiva RoHS 2011/65/UE**
* **Direttiva 2017/1369/UE** relativa all’etichettatura energetica
* **Regolamento sui gas fluorurati ad effetto serra 2014/517/UE**
* **Direttiva 2009/125/UE** con regolamento di attuazione **206/2012/UE** e regolamento di attuazione italiano D. Lgs. n. 15 del 16/02/2011

Ultime due cifre dell’anno in cui è stata apposta la marcatura CE: **21**

Storo 15/04/2021

Amministratore unico:

Oreste Bottaro



# DECLARATION OF CE CONFORMITY

INNOVA S.r.l., based in Storo (TN), Via I Maggio 8 - 38089 - Italia

DECLARE

under its responsibility that the following products:

**Ventilation units with dual-flow heat recovery**

|  |  |
| --- | --- |
| **HRA-I SLIM** | HRA-i SLIM 14 H – HRA-i SLIM 20 H – HRA-i SLIM 30 H |
| **HRA-I PLUS** | HRA-i PLUS 50/08 – HRA-i PLUS 50/15 |
| **HRA-I PLUS H2O** | HRA-i PLUS H2O 50/08 – HRA-i PLUS H2O 50/15 |

**and accessories**

are designed, manufactured and commercialized in compliance with the following EC Standards:

* **Low Voltage Directive 2014/35/EU** according following technical norms and their subsequent: EN 60335-2-40:2003 + A11:2004 + A12:2005 + A1:2006 + EC:2006 + A2:2009 + A13:2012 + A13/EC:2013, EN 60335-1:2002 + A11:2004 + A1:2004 + A12:2006 + A2:2006+ A1/EC:2007 + A13:2008 + EC:2009 + EC:2010 + A14:2010 + A15:2011
* **EMC Directive 2014/30/EU**, according following technical norms and their subsequent: EN 60335-1:2012, EN 55014-1:2006 + A1:2009 + A2:2011, EN 61000-3-2:2006 + A1:2009 + A2:2009, EN 61000-3-3:2013, EN 55014-2:1997 + A1:2001 + A2:2008
* **RED Directive 2014/53/UE** on the harmonisation of the laws of the Member States relating to the making available on the market of radio equipment
* **RoHS Directive 2011/65/EU**
* **2017/1369/EU ERP Directive**
* **Fluorinated greenhouse gases Regulation** **2014/517/EU**
* **2009/125/EU Directive** and implementing **regulation 206/2012/EU**

Last two digits of the year in which it was affine EC marking: 21

Storo 2021-04-19

CEO:

Oreste Bottaro

